CONTINGENCY/EMERGENCY RESPONSE PLAN FOR NON-TRANSIENT NON-COMMUNITY WATER SYSTEMS

Drinking Water and Water Wells Division

245 Fallbrook Blvd, Suite 100, Lincoln, NE 68521

Phone: (402) 471-0521 / FAX: (402) 471-2909

dwee.ecmupload@nebraska.gov

24-Hour Emergency Contact #: (402) 499-6922

| Public Water System Name: |  |  |  |  | County: |
| --- | --- | --- | --- | --- | --- |
| PWS ID #: NE31- |  | Phone Number: |  | Population Served: |  |
| Mailing Address: | Street/PO/Route: |  |  |  |  |
|  | City: |  | State: |  | ZIP: |
| Prepared by: |  |  | Title: |  |  |
| Date Completed: |  |  | Date Update: |  |  |
| Signature: |  |  |  |  |  |
| Plan #: |  |  |  |  |  |

FOR DEPARTMENT USE ONLY

| Approved by: | Date: |
| --- | --- |
| Signature: |  |

TABLE OF CONTENTS

Section I – Introduction	1

1.  Purpose	1

2.  Organization	1

Section II - Summary Description of the System	2

1.	Location of Pertinent Information	2

2.	Existing Source Information	2

A.	Well Information	2

B. 	Water Quality of the Source(s)	2

C.	Source Pump Information	2

D.	Other Emergency Sources	3

E.	Possible Future Sources of Water	3

3.	Treatment Information	3

A.	Emergency Disinfection	3

B.	Other Treatment	3

C.	Power	3

Section III – Emergency Response Actions	4

1.	Description of Emergency Response Actions	4

A.	Power Outage	4

B.	Prolonged Water Outage	4

C.	Treatment Equipment Failure	4

D.	Source Pump Failure	4

E.	Flood	5

F.	Severe Weather	5

G.	Fire at Water Supply System Facility	5

H.	Terrorism or Vandalism (actual or suspected)	5

2.	Emergency Reference Table Contacts and Phone Numbers	6

A.	Emergency Responders	6

B.	State and Local Agencies Notification List	6

C. 	Local Contact Notification List	7

D.	System Equipment Repair and Supplies Contact Information	7

E.	Utilities Contact Information	8

F.	Bulk Water Suppliers	8

G.	Media Notification List	9

Section IV – Emergency Water Use Restrictions	10

1.	Power Supply Equipment	10

A.	Power Sources	10

B.	Generators	10

2.	Spare Parts for Water Source	10

A.	Spare Pump(s)	10

B.	List of Spare Parts for Pump(s) and Well(s)	10

# Section I – Introduction

## 1.  Purpose

This emergency plan was developed as a guideline for the operators and administration of       in order to minimize disruption of normal services to its consumers and to provide public health protection and safety during an emergency.  Emergency response planning should be a coordinated and planned process.  Proper planning can lessen the impact of an emergency.  This plan was designed to address various emergency hazards that may occur in rural and small water systems.

## 2.  Organization

Water system policies are set by      .  Large expenditures (over $     ) must be approved by      .  Smaller purchases can be made by      .

During any type of emergency, the following persons will be in charge of the water system (contact in order indicated):

| Order | Name | Position | Office Phone Number (include area code) | Cellular Phone Number (include area code) | Pager (include area code) | Home Phone Number (include area code) | Radio Frequency (MHz) | E-Mail |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |

# Section II - Summary Description of the System

The following is a summary description of the system that should provide enough information about the system for use during an emergency and to assess and correct system vulnerabilities.

## Location of Pertinent Information

| Item | Location |
| --- | --- |
| Distribution System Map (plans, blueprints, etc.) |  |
| Other Pertinent Maps |  |
| Daily Reports |  |
| Permits |  |
| Technical Manuals |  |
| O&M Manual |  |
| Start-Up/Shut-Down Procedures |  |

## Existing Source Information

### A.	Well Information

Not Applicable

| Well ID | Location | Well Depth | Well Yield | Critical Water Level1 |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| 4. |  |  |  |  |
| 5. |  |  |  |  |
| 6. |  |  |  |  |

1 Based upon well and aquifer characteristics.

### B. 	Water Quality of the Source(s)

(List significant parameters.  Examples, nitrates iron, etc.)

### C.	Source Pump Information

| Source ID | Pump Type | Manufacturer | H.P. | Capacity (gpm) | Phase, Voltage |
| --- | --- | --- | --- | --- | --- |

Note: Source ID includes well identification numbers as well as any other source (i.e., surface water intake pumps etc.)

### D.	Other Emergency Sources

(Include equipment needed to use the source.)

### E.	Possible Future Sources of Water

(How will future water sources be protected?)

## 3.	Treatment Information

### A.	Emergency Disinfection

| Chemical(s) Used: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Type of Chemical Feed: |  |  |  |  |
| Location of Disinfection System: |  |  |  |  |
| Location of Chemical Storage: |  |  |  |  |

### B.	Other Treatment

| Other Treatment Methods(s) |  |  |  |
| --- | --- | --- | --- |
| Chemical(s) Used: |  |  |  |
| Type of Chemical Feed: |  |  |  |
| Treatment Chemicals and Storage |  |  |  |
| Laboratory Chemicals and Storage: |  |  |  |
| Also attach MSDS sheets on all chemicals used. |  |  |  |

## C.	Power

| Primary Power: |  |
| --- | --- |
| Emergency Backup Power: |  |

# Section III – Emergency Response Actions

The following are the action steps that will be followed for all emergency situations:

- Take or direct any immediate response measures that are obviously needed to reduce risk to the public (see specific emergency response action below).

- Notify DWEE Drinking Water and Water Wells Division and (if applicable) the system administration.

- Determine and implement other appropriate corrective actions to reduce and eliminate the effects of the emergency.

- Inform consumers of the emergency situation as soon as possible, and again as the status changes.

## 1.	Description of Emergency Response Actions

Refer below to the response action(s) for the specified emergency:

### A.	Power Outage

Immediate Actions:

Other Actions:

### B.	Prolonged Water Outage

Immediate Actions:

Other Actions:

### C.	Treatment Equipment Failure

Immediate Actions:

Other Actions:

### D.	Source Pump Failure

Immediate Actions:

Other Actions:

### E.	Flood

Immediate Actions:

Other Actions:

### F.	Severe Weather

Immediate Actions:

Other Actions:

### G.	Fire at Water Supply System Facility

Immediate Actions:

Other Actions:

### H.	Terrorism or Vandalism (actual or suspected)

Immediate Actions:

Other Actions:

## 2.	Emergency Reference Table Contacts and Phone Numbers

### Emergency Responders

| Organization | Contact Name | Title | Day Phone Number (include area code) | Evening Phone Number (include area code) | Cellular/Pager Number (include area code) | Email |
| --- | --- | --- | --- | --- | --- | --- |
| Fire Department |  |  |  |  |  |  |
| Police Department |  |  |  |  |  |  |
| FBI Field Office (for terrorism or sabotage) |  |  |  |  |  |  |
| Emergency Medical Service |  |  |  |  |  |  |
| National Spill Response Office 24-hour hotline |  |  |  | 24 Hour (800) 424-8802 |  |  |
| State (DWEE) 24- Hour Spill Hotline |  |  |  | 24 Hour (877) 253-2603 |  |  |
| Poison Control |  |  |  | 24 Hour (800) 955-9119 |  |  |
| Water System Operators/Managers |  |  |  |  |  |  |

### B.	State and Local Agencies Notification List

| Organization | Contact Name | Title | Day Phone Number (include area code) | Evening Phone Number (include area code) | Cellular/Pager Number (include area code) | E-Mail |
| --- | --- | --- | --- | --- | --- | --- |
| DWEE Field Office |  |  |  |  |  |  |
| DWEE Lincoln Office | Laura Johnson | Division Administrator | (402) 471-0510 |  |  | laura.r.johnson@nebraska.gov |
|  | Andy Kahle | Field Services Program Manager | (402) 471-0521 | 24 Hour (402) 499-6922 | (402) 432-4692 | andy.kahle@nebraska.gov |
| Local County Health Department |  |  |  |  |  |  |
| Nebraska Department of Water, Energy, and Environment | Regional Office |  |  |  |  |  |
|  | 24 Hour Spill Hotline |  |  | (877) 253-2603 |  |  |
| State Emergency Management Office |  |  |  | 24 Hour (402) 471-7421 |  |  |
| HazMat Hotline |  |  |  | (800) 424-9300 |  |  |
| County Emergency Management Office |  |  |  |  |  |  |
| Nebraska Rural Water Association |  |  |  | (800) 842-8039 |  |  |

### C. 	Local Contact Notification List

| Organization | Contact Name | Title | Day Phone Number (include area code) | Evening Phone Number (include area code) | Cellular/Pager Number (include area code) | E-Mail |
| --- | --- | --- | --- | --- | --- | --- |
| Government Officials |  |  |  |  |  |  |
| Hospitals |  |  |  |  |  |  |
| Pharmacy |  |  |  |  |  |  |
| Priority Water Users (Those that are critically dependent upon water including schools, nursing homes, dialysis centers, institutions, individuals, businesses, interconnected water systems, etc.) |  |  |  |  |  |  |
| Others |  |  |  |  |  |  |

### System Equipment Repair and Supplies Contact Information

| Organization | Contact Name | Title | Day Phone Number (include area code) | Evening Phone Number (include area code) | Cellular/Pager Number (include area code) | E-Mail |
| --- | --- | --- | --- | --- | --- | --- |
| Electrician |  |  |  |  |  |  |
| Plumber |  |  |  |  |  |  |
| Pump Specialist |  |  |  |  |  |  |
| Soil Excavator/Backhoe Operator |  |  |  |  |  |  |
| Equipment Rental (Power Generators) |  |  |  |  |  |  |
| Equipment Rental (Chlorinators) |  |  |  |  |  |  |
| Equipment Rental (Portable Fencing) |  |  |  |  |  |  |
| Equipment Repairman |  |  |  |  |  |  |
| SCADA Repair Service |  |  |  |  |  |  |
| Pump Supplier |  |  |  |  |  |  |
| Well Driller |  |  |  |  |  |  |
| Pipe Supplier |  |  |  |  |  |  |
| Local/Regional Analytical Laboratory |  |  |  |  |  |  |

### E.	Utilities Contact Information

| Organization | Contact Name | Title | Day Phone Number (include area code) | Evening Phone Number (include area code) | Cellular/Pager Number (include area code) | E-Mail |
| --- | --- | --- | --- | --- | --- | --- |
| Electric Utility Company |  |  |  |  |  |  |
| Gas Utility Company |  |  |  |  |  |  |
| Sewer Utility Company |  |  |  |  |  |  |
| Telephone Utility Company |  |  |  |  |  |  |
| Diggers Hotline, UFPO or local equivalent |  |  |  |  |  |  |

### F.	Bulk Water Suppliers

| Organization | Contact Name | Title | Day Phone Number (include area code) | Evening Phone Number (include area code) | Cellular/Pager Number (include area code) | E-Mail |
| --- | --- | --- | --- | --- | --- | --- |
| Bulk Water Hauler |  |  |  |  |  |  |
| Bottle Water Source |  |  |  |  |  |  |

### G.	Media Notification List

| Organization | Contact Name | Title | Day | Evening | Cellular/Pager | E-Mail |
| --- | --- | --- | --- | --- | --- | --- |
| Designated Water System Spokesperson |  |  |  |  |  |  |
| Newspaper - Local |  |  |  |  |  |  |
| Newspaper – Regional State |  |  |  |  |  |  |
| Radio |  |  |  |  |  |  |
| Television |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |

# Section IV – Emergency Water Use Restrictions

## 1.	Power Supply Equipment

### A.	Power Sources

| Primary Power Source: |  |
| --- | --- |
| Alternate Power Sources: |  |
| Location of Fuel: |  |

### B.	Generators

| #### Make/Model | Phase/ Voltage/ Amps | Contact Individual | Phone No. | Location of Storage | Location of Use |
| --- | --- | --- | --- | --- | --- |

## 2.	Spare Parts for Water Source

### A.	Spare Pump(s)

| Pump Type | Manufacturer | H.P. | Capacity (gpm) | Phase, Voltage |
| --- | --- | --- | --- | --- |

### B.	List of Spare Parts for Pump(s) and Well(s)

| Part | Location |
| --- | --- |